NOTICE TO THE PUBLIC

#### IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Pender County Utilities       HAS LEVELS OF

TOTAL TRIHALOMETHANES ABOVE DRINKING WATER STANDARDS

Our water system recently violated a drinking water standard. Although this incident was not an emergency, as our customers, you have a right to know what happened, what you should do, and what we did (are doing) to correct this situation.

We routinely monitor for the presence of drinking water contaminants.  Monitoring results for water samples collected during the annual period beginning January 1, 2023, show that the contaminant concentration from one or more sampling locations in our water system exceeds the standard, or maximum contaminant level (MCL), for TOTAL TRIHALOMETHANES (TTHMs). The standard for TOTAL TRIHALOMETHANES is 0.080 mg/L.  Over the referenced compliance period, the sample location with the highest average level of TOTAL TRIHALOMETHANES had a concentration of     0.082   mg/L.

What should I do?

- There is nothing you need to do.  You do not need to boil your water or take other corrective actions.  However, if you have specific health concerns, consult your doctor.  If a situation arises where the water is no longer safe to drink, you will be notified within 24 hours.

- If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your health care providers about drinking this water.

What does this mean?

This is not an emergency. If it had been, you would have been notified within 24 hours.  TTHMs are four volatile organic chemicals which form when disinfectants react with natural organic material in the water. However, some people who drink water containing trihalomethanes in excess of the MCL over many years may experience problems with their liver, kidneys, or central nervous system, and may have an increased risk of getting cancer.

What is being done?

Pender County Utilities has lowered the disinfection dosing at the water treatment plant and at the wells. Extensive flushing of water lines is being performed. Additional automatic hydrant flushers have been installed. A contractor has been chosen to perform tank cleaning and maintenance. The latest quarterly sampling collected on 3/8/2023 showed that the TTHMs were under the acceptable limit. Although the THM’s have been within the acceptable limits the past few quarterly samples, due to how the state averages these samples, we are still required to notify the public. We anticipate resolving this matter by June of next quarter. We will continue to monitor the water and provide the best drinking water possible.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

For more information, please contact:

| Responsible Person Glen Garvin | System Name PENDER COUNTY UTILITIES | System Address (Street) P.O. Box 995, 605 E. Fremont Street |
| --- | --- | --- |
| Phone Number 910-259-1327 | System Number: NC7071011 | System Address (City, State, Zip) Burgaw, NC 28425 |

Notice of Violation Date:  March 30, 2023

Date Notice Distributed:  04/5/2023          Method of Distribution: mail, Pender County website

Public Notification Certification: The public water system named above hereby affirms that public notification has been provided to its consumer in accordance with all delivery, content, format, and deadline requirements specified in 15A NCAC 18C .1523. Owner/Operator: ______Glen Garvin_____ _________Glen Garvin___________04/5/2023 (Signature) (Print Name) (Date)

# TOTAL TRIHALOMETHANES MCL Notice – Tier 2 Violation

Since exceeding the TOTAL TRIHALOMETHANES maximum contaminant level (MCL) is a Tier 2 violation, you must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation (40 CFR 141.203(b)].  You must issue a repeat notice every three months for as long as the violation persists.

Community systems must use one of the following methods [40 CFR 141.203(c)]:

- Hand or direct delivery

- Mail, as a separate notice or included with the bill

Non-community systems must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

In addition, both community and non-community systems must use another method reasonably calculated to reach others IF they would not be reached by the first method [40 CFR 141.203(c)].  Such methods could include newspapers, e-mail, or delivery to community organizations.

You must also perform the following:

- If you mail, post, or hand deliver, print your notice on letterhead, if available.

- Notify new billing customers or units prior to or at the time their service begins.

- Provide multi-lingual notifications if 30% of the residents served are non-English speaking.

The notice on the reverse is appropriate for mailing, posting, or hand delivery.  If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a), and the standard language (including the health effects language) in bold italics must not be changed.  This language is mandatory [40 CFR 141.205(d)].

# Corrective Action

In your notice, describe correction actions you are taking.  Do not use overly technical terminology when describing treatment methods.  Listed below are some steps commonly taken by water systems with chemical or radiological violations.  Depending on the corrective action you are taking, you can use one or more of the following statements, if appropriate, or develop your own text:

- We are working with [local/state agency] to evaluate the water supply and are researching options to correct the problem.  These options may include treating the water to remove TTHMs or connecting to [system]’s water supply.

- We have stopped using the contaminated well.  We have increased pumping from other wells, and we are investigating drilling a new well.

- We have increased the frequency that we will test the water for TTHMs.

- We have since taken samples at this location and had them tested.  These samples show that we meet the standards.

# Repeat Notices

If this is an ongoing violation and/or you fluctuate above and below the MCL, you should give the history behind the violation, including the source of contamination, if known.  List the date of the initial detection, as well as how levels have changed over time.  If levels are changing as a result of treatment, you can indicate this.

# After Issuing the Notice [40 CFR 141.31(d)]

After issuing the “Notice to the Public” to your customers, sign and date the “Public Notification Certification” at the bottom

of the notice.  Within ten days after issuing the notice [CFR 141.31(d)], use our on-line ECERT application located on our

website at:  https://pws.ncwater.org/ECERT/pages/default.aspx to submit your completed Notice/Certification to the Public

Water Supply Section.  If you do not have access to the internet, mail your completed Notice/Certification to:  Public Water

Supply Section, ATTN: Public Notification Rule Manager, 1634 Mail Service Center, Raleigh, NC 27699-1634.

Keep a copy for your files.

(6/2019)